DETERMINATION OF CATALASE (CAT)

Catalase (CAT) activity was estimated by the method described by Cohen et al., (1970).

Reagents

Hydrogen peroxidase (H2O2)

Suphuric acid (6M) H2SO4

Preparation of reagents

0.01M KMnO4 was prepared by distilling 0.158g of KMnO4 in 100ml of distilled water. Phosphate buffer (pH 7.4) 0.426g of NaHPO4 and 0.240g of NaH2PO4 was weighed and dissolved in 100ml of distilled water. 6M H2SO4 and 32.3ml of conc. H2SO4 was added to 66.7ml of distilled water.

Procedure

To an unknown volume of plasma (0.5ml), 5.0ml of H2O2 was added. This was mixed by inversion and allowed to stand for 30min. The reaction was stopped by adding 1.5ml of 6M H2SO4 and 7ml of 0.01M KMnO4. These were mixed by inversion and allowed to stand for 10min. The absorbance was read at 480nm within 30-60 seconds against distilled water. The enzyme blank was run simultaneously with 1.0ml of distilled water instead of hydrogen peroxide. The enzyme activity was expressed as µmoles of H2O2 decomposed/min/mg/protein.

Calculation

Activity = OD/min x V

M x V x L x Y

Where OD = Absorbance

L= Light path

V= Total volume of reaction sample

M= Molar coefficient of H2O2 (40/m/cm)

V= Volume of sample

Y= mg protein in the sample

ESTIMATION OF SUPEROXIDE DISMUTASE ACTVITY (SOD)

This was determined according to teh methods of Masra and Fridorich (1972)

Principle

Adrenaline undergoes auto oxidation rapidly to adrenochrome whose concentration can be determined at 420nm with the aid of a spectrophotometer. The auto oxidation of adrenaline depends on the presence of superanions.

Superoxide dismutase inhibits the auto-oxdiation of adrenaline by catalysing the breakdown of superoxide anion. The degree of inhibition reflects the activity of SOD which is determined at 420nm.

Reagent and preparation

Carbonate buffer (0.05M) pH 10.2: This was prepared by dissolving 0.2014g of Na2CO3, 0.2604g NaHCO3 and 0.0372g of EDTA in 100ml of distilled water. The pH was adjusted to 10.2 using Sodium hydroxide.

Hydrochloric acid (0.005M): This was prepared by adding 0.044 concentration of HCL to 99.96mls of distilled water.

Adrenaline solution (0.3mM): This was prepared by dissolving 0.01098g of adrenaline in 100mls of 0.005M HCL solution.

Plasma volume of 100ml was mixed with 125ml of carbonate buffer and 150ml of adrenaline solution. 100ml of distilled water was mixed with 1.25ml of carbonate buffer as reference sample. These were mixed and absorbance read at 420nm.

These were mixed and read at 420nm

%inhibition= (O.D test - ODref) x 100

OD test

Enzyme concentration can thus be calculated

unit/mg protein = % inhibition

50 x Y

Where Y = mg of protein in the volume of sample used

ESTIMATION OF GLUTHATHIONE PEROXIDASE (GPx)

This was determined according to Nyman (1959)

Principle

This is based on the oxidation of pyrogallol to purpurogallin by peroxidase activity, resulting to a deep brown color disposition, read at 420nm.

Reagent and preparation

Pyrogallol (20mM): 0.2552g of pyrogallol was dissolved in 100mls of distilled water.

Procedures

To an aliquot of plasma (0.2ml), 2.5ml of phosphate buffer, 2.5ml of H2O2, 1.5ml of distilled water and 2.5ml of pyrogallol was added.

The reaction was allowed to stand for 30mins at room temperature. A deep brown color was formed which was read at 480nm.

Calculations

Activity= OD/min x vt x Df

E x Vs x Y

OD= Absorbance of test

Vt= Total volume of reaction mixture

Df= Diution factor = 1

E= Molar extinction co-efficient (12/m/cm)

Vs= Volume of sample

Y= mg of protein used

DETERMINATION OF MALONDIALDEHYDE (MDA)

Malonaldehyde was determined using the thiobarbituric acid assay (Buege and Aust, 1978)

Principle

Malonaldehyde which is a product of lipid peroxidation react with thiobabituric acid (TBA) to give a red species.

Procedure

A volume of plasma (1.0ml) was added to 2.0ml of TCA-TBA-HCL and mixed thoroughly. The solution was heated for 15mins in a boiling water bath. After cooling, the flocculent precipitate was removed by centrifuged at 1000g for 10min. The absorbance was determined using the formula;

MDA (mol/mg protein) = A x V x 100

M x V x Y

A= Absorbance

V= Total volume of reaction mixture

M= Molar extinction coefficient

V= volume of the sample

Y= mg protein