To the sample 1.0mL, 2.5mL 10% of trichloroacetic acid (TCA) was added and centrifuged. 1mL of the supernatant was treated with 0.5mL of Ellman’s reagent and 3mL phosphate buffer (PH 7.4). The absorbance was read at 412nm.

The concentration of the reduced glutathione was determined using the formula,

Absorbance of sample

GSH = __________________________     x Conc. of Standard

Absorbance of standard